## Sheet1
Universities | Number of time samples | MRI Scanner Machine Model | Acquisition Time (minutes : seconds ) | Acquisition Time ( seconds ) | Bandwidth (Hz/Px) | TR ( Repetition time ) ( ms ) | TE ( Echo Time ) ( ms ) | Number of Autistic samples | Number of Typically developing child samples
California Institute of technology | 145 | SIEMENS MAGNETOM TrioTim syngo MR B17 | 5:04 | 304 | 2604 | 2000 | 30 | 15 | 14
Carnegie Melon Institute_a | 235 | SIEMENS MAGNETOM Verio syngo MR B17 | 8:06 | 486 | 1628 | 2000 | 30 | 5 | 7
Carnegie Melon Institute_b | 315 | SIEMENS MAGNETOM Verio syngo MR B17 | 8:06 | 486 | 1628 | 1500 | 30 | 3 | 3
Kennedy Krieger Institute | 151 | 3 Tesla Philips Achieva scanner | 6:40 | 400 | 2696 | 2500 | 30 | 16 | 20
Ludwig Maximilians University Munich_a | 115 | SIEMENS MAGNETOM Verio syngo MR B17 | 6:06 | 366 | 2232 | 3000 | 30 | 4 | 6
Ludwig Maximilians University Munich_b | 115 | SIEMENS MAGNETOM Verio syngo MR B17 | 6:06 | 366 | 2232 | 3000 | 30 | 5 | 0
Ludwig Maximilians University Munich_c | 115 | SIEMENS MAGNETOM Verio syngo MR B17 | 6:06 | 366 | 2232 | 3000 | 30 | 2 | 15
Ludwig Maximilians University Munich_d | 195 | SIEMENS MAGNETOM Verio syngo MR B17 | 10:06 | 606 | 2232 | 3000 | 30 | 10 | 6
NYU Langone Medical Center | 175 | SIEMENS MAGNETOM Allegra syngo MR 2004A | 6:00 | 360 | 3906 | 2000 | 15 | 65 | 74
Olin, Institute of Living at Hartford Hospital | 202 | SIEMENS MAGNETOM Allegra syngo MR 2004A | 5:15 | 315 | 4112 | 1500 | 27 | 16 | 13
Oregon Health and Science University | 77 | SIEMENS MAGNETOM TrioTim syngo MR B17 | 3:32 | 212 | 2298 | 2500 | 30 | 12 | 14
San Diego State University | 175 | GE 3T MR750 scanner | 6:10 | 370 |  | 2000 | 30 | 13 | 16
Social Brain Lab | 195 | Philips Intera 3T | 7:28.8 | 448 | 1283 | 2200 | 30 | 15 | 15
Stanford University | 175 | GE SIGNA 3T | 4:12 | 252 |  | 2000 | 30 | 15 | 16
Trinity Centre for Health Sciences | 145 | Philips 3T Achieva MRI Scanner | 6:40 | 400 | 2419 | 2000 | 28 | 22 | 25
University of California,Los Angeles: Sample 1 | 115 | SIEMENS MAGNETOM TrioTim syngo MR B15 | 6:06 | 366 | 2442 | 3000 | 28 | 35 | 27
University of California,Los Angeles: Sample 2 | 115 | SIEMENS MAGNETOM TrioTim syngo MR B15 | 6:06 | 366 | 2442 | 3000 | 28 | 13 | 11
University of Leuven: Sample 1 | 245 | 3.0 Tesla Philips MR scanner | 07:06.7 | 426 | 3208.1 | 1667 | 33 | 14 | 15
University of Leuven: Sample 2 | 245 | 3.0 Tesla Philips MR scanner | 07:06.7 | 426 | 3208.1 | 1667 | 33 | 12 | 13
University of Michigan: Sample 1 | 295 | 3 Tesla GE Signa scanner | 10:00 | 600 |  | 2000 | 30 | 43 | 36
University of Michigan: Sample 2 | 295 | 3 Tesla GE Signa scanner | 10:00 | 600 |  | 2000 | 30 | 12 | 20
University of Pittsburgh School of Medicine | 195 | SIEMENS MAGNETOM Allegra syngo MR A30 | 5:06 | 306 | 3126 | 1500 | 25 | 25 | 23
University of Utah School of Medicine | 235 | SIEMENS MAGNETOM TrioTim syngo MR B17 | 8:06 | 486 | 2894 | 2000 | 28 | 46 | 25
Yale Child Study Center | 195 | SIEMENS MAGNETOM TrioTim syngo MR B17 | 6:40 | 400 | 2520 | 2000 | 25 | 20 | 20
[8 empty] | 438 | 434

## Sheet2
Universities | Number of time samples | Acquisition Time ( seconds ) | Number of time samples ( taking AT = 5 min ) | Number of zeros to be padded | Number of Autistic samples | Number of Typically developing child samples
California Institute of technology | 145 | 304 | 143 | 65 | 15 | 14
Carnegie Melon Institute_a | 235 | 486 | 145 | 63 | 5 | 7
Carnegie Melon Institute_b | 315 | 486 | 194 | 14 | 2 | 3
Kennedy Krieger Institute | 151 | 400 | 113 | 95 | 16 | 20
Ludwig Maximilians University Munich_a | 115 | 366 | 94 | 114 | 4 | 6
Ludwig Maximilians University Munich_b | 115 | 366 | 94 | 114 | 5 | 0
Ludwig Maximilians University Munich_c | 115 | 366 | 94 | 114 | 2 | 15
Ludwig Maximilians University Munich_d | 195 | 606 | 97 | 111 | 10 | 6
NYU Langone Medical Center | 175 | 360 | 146 | 62 | 65 | 74
Olin, Institute of Living at Hartford Hospital | 202 | 315 | 192 | 16 | 16 | 13
Oregon Health and Science University | 77 | 212 | 109 | 99 | 12 | 14
San Diego State University | 175 | 370 | 142 | 66 | 13 | 16
Social Brain Lab | 195 | 448 | 131 | 77 | 15 | 15
Stanford University | 175 | 252 | 208 | 0 | 15 | 16
Trinity Centre for Health Sciences | 145 | 400 | 109 | 99 | 22 | 25
University of California,Los Angeles: Sample 1 | 115 | 366 | 94 | 114 | 35 | 27
University of California,Los Angeles: Sample 2 | 115 | 366 | 94 | 114 | 13 | 11
University of Leuven: Sample 1 | 245 | 426 | 173 | 35 | 14 | 15
University of Leuven: Sample 2 | 245 | 426 | 173 | 35 | 12 | 13
University of Michigan: Sample 1 | 295 | 600 | 148 | 60 | 43 | 36
University of Michigan: Sample 2 | 295 | 600 | 148 | 60 | 12 | 20
University of Pittsburgh School of Medicine | 195 | 306 | 191 | 17 | 25 | 23
University of Utah School of Medicine | 235 | 486 | 145 | 63 | 46 | 25
Yale Child Study Center | 195 | 400 | 146 | 62 | 20 | 20
[5 empty] | 437 | 434

## Sheet3
Universities | Number of time samples | Acquisition Time ( seconds ) | Sampling rate ( 1 sample for how many seconds ) | Sampling rate ( rounded off ) | Number of Autistic samples | Number of Typically developing child samples | No of samples for 212 seconds
California Institute of technology | 145 | 304 | 2.096 | 2.096 | 15 | 14 | 101
Carnegie Melon Institute_a | 235 | 486 | 2.068 | 2.068 | 5 | 7 | 103
Carnegie Melon Institute_b | 315 | 486 | 1.5428 | 1.5428 | 2 | 3 | 137
Kennedy Krieger Institute | 151 | 400 | 2.649 | 3 | 16 | 20 | 80
Ludwig Maximilians University Munich_a | 115 | 366 | 3.18 | 3.18 | 4 | 6 | 67
Ludwig Maximilians University Munich_b | 115 | 366 | 3.18 | 3.18 | 5 | 0 | 67
Ludwig Maximilians University Munich_c | 115 | 366 | 3.18 | 3.18 | 2 | 15 | 67
Ludwig Maximilians University Munich_d | 195 | 606 | 3.1 | 3.1 | 10 | 6 | 68
NYU Langone Medical Center | 175 | 360 | 2.057 | 2.057 | 65 | 74 | 103
Olin, Institute of Living at Hartford Hospital | 202 | 315 | 1.559 | 1.559 | 16 | 13 | 136
Oregon Health and Science University | 77 | 212 | 2.753 | 2.753 | 12 | 14 | 77
San Diego State University | 175 | 370 | 2.114 | 2.114 | 13 | 16 | 100
Social Brain Lab | 195 | 448 | 2.297 | 2.297 | 15 | 15 | 92
Stanford University | 175 | 252 | 1.44 | 1.44 | 15 | 16 | 147
Trinity Centre for Health Sciences | 145 | 400 | 2.75 | 2.75 | 22 | 25 | 77
University of California,Los Angeles: Sample 1 | 115 | 366 | 3.182 | 3.182 | 35 | 27 | 67
University of California,Los Angeles: Sample 2 | 115 | 366 | 3.182 | 3.182 | 13 | 11 | 67
University of Leuven: Sample 1 | 245 | 426 | 1.738 | 1.738 | 14 | 15 | 122
University of Leuven: Sample 2 | 245 | 426 | 1.738 | 1.738 | 12 | 13 | 122
University of Michigan: Sample 1 | 295 | 600 | 2.033 | 2.033 | 43 | 36 | 104
University of Michigan: Sample 2 | 295 | 600 | 2.033 | 2.033 | 12 | 20 | 104
University of Pittsburgh School of Medicine | 195 | 306 | 1.569 | 1.569 | 25 | 23 | 135
University of Utah School of Medicine | 235 | 486 | 2.068 | 2.068 | 46 | 25 | 103
Yale Child Study Center | 195 | 400 | 2.051 | 2.051 | 20 | 20 | 103
|  |  | 2.315 | 2.3296 | 437 | 434